Minsterley Flood Action Group: Report for November 2021 to the Parish Council Meeting 14/12/2021
During November 2021, only 19millimetres of rainfall was recorded, totalling 712.5mm for 2021 todate; an average of 64.77mm per month; it is therefore likely that rainfall for the year will be average or slightly below the mean on the rainfall chart. 
The Drainage Officers undertook to carry out some improvements to the debris screens within the watercourse between Callow Crescent & Ash Lea, which are still awaited, and the screen to the culvert under Plox Green Road needs repair and is blocked with brash. 
On Callow Lane an investigation feasibility study as reported in October 2021. To alleviate volumes of water that collect on Callow Lane between Orchid Fields & Hogarth Close, this is ongoing.  Drainage lines on Callow Lane South of the 30mph limit, require flushing to remove blockages.
Following the Multi Agency Meeting, a Parish meeting was convened for 16 November to inform The Grove Residents of any outcome, and for them to inform the FAG of their views and suggestions on flooding issues appertaining to their individual properties. Still awaiting comment on the draft report regarding flooding of The Grove properties from the fields West of the Properties. Following the residents meeting on 16 November the writer has investigated with interested residents and has located the existing salt glazed drainage pipe that took the grey water prior to the foul sewer pipeline being constructed in the 1960s; now in the process of updating the LLFA with our findings.
Officers from Shropshire Council have still not arranged the site meeting to meet members of the FAG & PC to inspect those issues raised at the MAM to better understand the concerns and happenings experienced by local residents and flood victims
Drainage matters on the Old Bus Depot development site on Station Road need to be resolved following the report from the LPA, as reported in October 21 and should insist that the Unitary Council should stand any continuing liability.(item 7 MAM) also the culvert headwall grill is covered with Brash which should be cleaned off.
The writer remains convinced that additional flooding will be suffered by residents of Linden Fields and Brook Meadow as reported in October 21.
Having drafted Flood Resilience Plan for Minsterley and the surrounding areas, we are now required to seek permission from those residents who are flooded to publish their details within the Plan.  
Further work remains to be completed to the eastern abutment of the accommodation bridge and to the western abutment to The Grove Footbridge, as reported in October 21. The riparian owner of Furlong Field has agreed a plan of action in principle; to help alleviate flooding in The Grove.
The flood alleviation ditch has still not been brushed out to remove all dead vegetation and remove it from site. This was a major contributory factor to the flooding in The Grove in February 2020.  The debris guard has been checked and remains clear.(item 18 MAM report)
FAG is still awaiting written permission to proceed with some of the works previously envisaged by the FAG; particularly along The Grove Footpath to improve safety for pedestrians. Site meeting to be arranged as agreed at MAM. Further the writer is in fundamental disagreement with the SC Drainage and Flood Risk Manager regarding the methods of control of erosion to the levees.( item 12 MAM report)
The Internal Drainage Board Ditch to the North of Davies’ Grove field has been cleared, The FAG are now in negotiation with the Landowner of the field to the rear of The Grove to clear thw remainder of that ditch.
Also to consider additional works in the river around the Brooklands Hall Farm accommodation bridge, and maximising the river flow between the Brooklands Bridge and The Square bridges.  Site meeting to be arranged, as agreed at the MAM. (item 7 MAM report)
There also remain issues with surface water and drainage of the Footpath/Cycleway between Minsterley and Pontesbury, in Frosty conditions it is still a red route! (item 3 MAM report) There is a broken land drain discharging onto the pathway ¾ down Poulton Bank.
The appointment of a part time Flood Risk and Drainage Warden to monitor road drainage and watercourses, and carry out small routine maintenance jobs, and advise the Parish Clerk and Chairman of action required to alleviate potential flooding around the village, remains a necessity.
Whilst there has not been any feedback on the report submitted on behalf of the Parish Council to the Parliamentary Severn Valley Flood Resilience Action Group headed up by Daniel Kawczynski Esq MP for the Shrewsbury constituency, as reported in October 2021. 
The item of concern: now that Flood barriers can be erected across the vehicular entrance to The Hollies Yard and garage area, in times of flood with the barrier in-place could extend the areas that will be flooded, around the access to The Poplars and adjacent properties. As reported in October 2021.
Matters arising to be placed on The Highways Portal.
Supply & fix grill to headwall to culvert under Ash Lea.
Clear brash from headwall grill to culvert under A488, Plox Green Road/ Callow Crescent.
Clear and flush road drainage line South of Callow Lane 30mph Limit Sign.
Clear brash from headwall grill to Culvert under A488 Station Road, Little Minsterley.
 
Originator: Doug Jones, member of the FAG; dated 14/12/2021 

