Minsterley Flood Action Group: Report for November 2023 to the Parish Council Meeting   2312 on 12/12/2023

During November 2023, 65mm of rainfall was recorded; a total of 787.25mm for the year to date.  The  monthly 2023 average recorded is 71.568mm in comparison 53.33mm per month  for 2022; reflecting  rainfall at the average mean for annual rainfall for this locality in the last decade.

An open meeting was held on 15 November 2023 at which our representative Hayley Bevan from the NFF was in attendance at which residents who had been flooded were invited to attend to express their concerns to the flooding which occurs on a far too regular occurrence.   The Flood Action Plan was updated in preparation for the MAM to be convened during the first week in February 2024.

Following investigations of the existing storm and groundwater drainage systems regarding the drainage to the rear (West) of The Grove; remains as reported in August 2023 the Drainage and Flood Risk Manager is awaiting on the MFAG for budgeting figures for his consideration to find funding for the implementation of a new drain.  Remains has reported in November 2023.

At The Little Minsterley culvert head wall, still more routine maintenance is required to remove silts and debris left in the wetted channel and over the grill.  It appears that a pipe discharging into the watercourse through the Head Wall is allowing water from the watercourse to enter the drainage system bringing about the flooding of 1 Little Minsterley because the non-return valve has failed. As the property owner has had his system checked by a bona fide Drainage solutions company and it appears the non-return valve is no longer in place. ** It is essential that a flood cap be fitted over the over the outlet pipe without further delay.  During recent storms flood water from this dysfunctional drain has almost flooded the property without the intervention of resident who has managed to keep pace by pumping the water beyond his property.

**The debris grill on the head wall of the culvert adjacent to Callow Crescent and Plox Green Road requires urgent clearing again following the recent storms; it would help if the debris grill was set 30⸰ which is also in need of urgent repair.

Further monitoring will continue South of the School, as reported previously and continue to liaise further with the landowner.

The erosion of the river bank and levee leading to the undermining of The Grove public footpath has continued, and the temporary safety barriers have been replaced, the tarmac footpath remains in very poor repair, riparian owners should remain mindful of their obligations, and this issue remains a agenda item for the parish meeting, and further discussion with NFF.

MPC & FAG continue to monitor surface drainage evacuation at Perret Close to report back to the LPA. Further John Bellis & the FAG are concerned that the construction of the outfall to the Flood Relief Channel, is inadequate. FAG to follow up.

The accommodation bridge, to the north of The Grove footbridge, withstood the recent flooding events and the river has been running above normal winter levels since the passing of Storm Babet. The owners are considering the removal of the old existing bridge structure.

Himalayan Balsam, and Japanese Knotweed problem remains for a further season; unfortunately MFAG failed to muster sufficient volunteers to pull out and destroy these proliferating pernicious plants.   A concerted effort will be required in 2024 to reduce the proliferation of these plants early in the growing season.

FAG will be working with the landowner to reinforce the existing east bank of the river to safe guard the accommodation bridge at The Grove, “the ordinary watercourse consent” was not granted because SC- FWM didnot receive payment.   SC-FWM are willing to issue a new consent if MFAG can assure the LLFA that there will be no need to enter the wetted channel to execute the works; any voluntary help would be appreciated to complete the afore mentioned, on going.

FAG is also endeavouring to establish under what auspices was the Minsterley Brook realignment was completed from Minsterley to Malehurst confluence with the Rea Brook in the first quarter of the 19th Century; eg Act of Parliament etc?

In view that Shropshire Council consider that there is no obligation for the LLFA to either carry out work to maintain these or enforce others to do so.  This observation has been challenged as the FAG understand that riparian owners have the right to maintain the river banks and levees to safeguard their property and land. This remains an issue as before described to be followed up.

All other unresolved matters remain as stated in previous reports and particularly those listed in the February/March report 2022.

Shropshire Council has commenced work on updating the Severe Weather Plan which is ongoing and remains incomplete due to resourcing issues within the Flood and Water Management Team, and remains as before described.

A report is still awaited from SC-Bridge Structures on the progress of the feasibility study for alleviation works around the Bridges in The Square, remains abd.  It should be noted that damage has occurred to the retaining wall forming the river bank on the east side supporting The Grove footpath adjacent to 4 Bridge Mews, terraced dwelling and the balustrade post no.6 north of The bridges.

**It is noted that the highway gully outside the Church Lych Gate is blocked abd, and went onto flood the front court yard and entrance to dwelling attached to Shropshire Pressure Washers, causing some water damage internally.  This gully must be cleared and left operational; reported to Fix My Street.

**Completion of a Bat Survey for the willow trees edging the Brook in Furlong Field is required, before the felling of huge mature trees obstructing the water flow can be approved. FAG need to establish the need for a bat survey at this time of the year.  Permission has been granted by the owner to fell the tree to the South of The Grove footbridge.

**8 Volunteers are requested to manually help making up the river bank levels adjacent to The Grove footbridge western bank in Furlong Field, using materials stockpiled in the adjacent field to prevent water over topping into the footpath; the owner has granted permission, for approximately 2 hours.

**The Grove Flood alleviation ditch requires clearing of vegetation, the debris grill to the head wall has been cleared of  the cuttings from adjacent hedge and remains clear in readiness for the next flood, presently.

The content of the contemporaneous draft preliminary report on the flooding following Storm Babet on the 19-20 October 2023 has been challenged by some members of the public.

** = These are actions that could be taken presently to the work on by the FAG on and SC routine maintenance.

Originator: Cllr Doug Jones dated11/12/2023; FAG Member