Minsterley Flood Action Group:

Report for October 2025 to the Parish Council Meeting 2511 to be held on the 11 November 2025

During October 2025, 67.5mm of rainfall was recorded; total for the year todate =519mm; the 2025 monthly average recorded todate is 51.9mm suggesting a significantly low rainfall year if this trend is to continue, in comparison with 81.52mm/month in 2024: 74.521mm/month for 2023 and 53.33mm/ month for 2022.

Severn Rivers Trust have completed works in an effort to Slow the Flow on the watercourse that flows through the middle of the Wagbeach settlement following negotiations with the riparian owner farmer forming a swale and opening up drainage from Drury Lane highway drainage to create additional storage on Grade 3 agricultural land; and within the dingle above the settlement in agreement with the riparian owners within Wagbeach,  we await for the engineering works to be tested and hopefully providing flood resilience for the residents. This was funded by the Rea NFM demonstrator project.

Further embankment stabilization work will be required at Wagbeach together with the arrest of riverbed erosion to avoid the subsidence of the eastern carriageway of the A488.

Following the removal of silts at the confluence of the Minsterley Brook with Rea Brook at Malehurst to lower the Rea Brook winter flow level to allow connecting water courses and drainage to outflow into the Rea Brook reported in September, FAG are now monitoring the drainage system that drains The Grove settlement is now able to run clear.  However this will not resolve the problem that abated during the drought period and low rainfall being experienced at the moment. A muchbigger project is required  to mitigate these flooding issues.

The Enforcement Notice reference 25/10688/ENF was reopened with the LPA appertaining to the Storm water drainage system at Hall View Drive development on the 7 September 2025 because The Enforcement Notice remains unresolved see emails transmitted in September to SC departments and Julia Buckley MP who has also contacted SC for an informative response despite The Council previously considering the matter closed.  The issue remains unresolved and unsatisfactory for those residents in Horsebridge Road and The Grove; leaving them vulnerable to flooding in storm events.

Further to the August and September 2025 reports the PC having contacted Heather Kidd and received a non-committal reply; the PC will continue to endeavour to seek a meeting with her as Leader of the Shropshire Council, to seek further guidance as to how to ensure that individual properties do not endure internal flooding during this Autumn and Winter in the locations previously indentified.

Following the downing of a large hawthorn tree during a storm in September 2025 into and across the Minsterley Brook off The Grove footpath on land to the north of Bath Mews, SRT returned to site removed the tree and following a site meeting on the 8th October 2025 and have since returned re-stabilise the levee by extending the vetement embankment reinforcement to secure and protect The Grove footpath this work was completed on the 30&31 October 2025.

MFAG with the residents of The Grove set up an initiative Grove to carry out the maintenance works required to ensure the alleviation ditch is fully functional in the event of flooding from the Minsterley Brook. A meeting was held on the 21 October 2025 at the Methodist Church on Horsebridge Road and it was agreed that the residents would hire a contractor to mechanically cut the hedge and ditch banks and a working party formed of residents would clear away the resultant detritus that work was completed on the 28-29October and the ditch is now fit for purpose.

Outstanding work in preparation for the Winter storms remain clearing the debris from in front of the trash grill to the culvert under the A488 adjacent to the Callow Crescent - Plox Green Road junction. And removing excessive river silts in the wetted channel of the Minsterley Brook from around the bridges off The Square to alleviate flooding in The Square and Church Road and beyond in both directions.

Originator: Cllr Doug Jones dated 11/11/2025; FAG Member